## derived channels
Document # 14993-A
Please paste you exported HOBOware data into B18. Once complete copy G18 through N18 to match the length of you HOBOware data.
Formulas |  | h = Hours = Logging Interval/3600
VAR = VARh/h
VA = SQRT(Wh^2 + VARh^2)/h
V = SQRT(Wh^2 + VARh^2)/Ah
PF = Wh/SQRT(Wh^2 + VARh^2)
W = Wh/h
A = Ah/h
kWh = Wh/1000
kW = W/1000
300 | Logging Interval in seconds
|  | Pulse data from U30, H22, ZW or UX120 |  |  | VAR = VARh/h | VA = SQRT(Wh^2 + VARh^2)/h | V = SQRT(Wh^2 + VARh^2)/Ah | PF = Wh/SQRT(Wh^2 + VARh^2) | W = Wh/h | A = Ah/h | kWh = Wh/1000 | kW = W/1000
|  | Volt-Ampere Reactive Hours | Watt Hours | Amp Hours | Volt-Amperes Reactive | Volt-Amperes | Volts | Power Factor | Watts | Amps | Kilowatt-Hour | Kilowatt
Date | Date/Time | VARh | Wh | Ah | VAR | VA | V | PF | W | A | kWh | kW
| 2011-04-06 14:50 | 4 | 16 | 0.155 | 48 | 197.9091 | 106.4027 | 0.97014 | 192 | 1.86 | 0.016 | 0.192